|  |  |  | Demand Control Commerical Kitchen Ventilation | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DjIAI | 012D5000000BRjkIAG
|  |  |  | Demand Control Ventilation | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DiIAI | 012D5000000BRjkIAG
|  |  |  | Dishwasher | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DpIAI | 012D5000000BRjkIAG
|  |  |  | DIY LED Four-Foot Linear Replacement Lamps | Energy Solutions for Business-Building Operations | UAT | N/A | N/A
|  |  |  | Dual Enthalpy Economizer | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DWIAY | 012D5000000BRjkIAG
|  |  |  | Duct Sealing | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DLIAY | 012D5000000BRjkIAG
|  |  |  | Ductless Mini-Split Heat Pump (DMSHP) | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DXIAY | 012D5000000BRjkIAG
|  |  |  | EC Motors Retrofits | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DQIAY | 012D5000000BRjkIAG
|  |  |  | Electric Chiller | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0E5IAI | 012D5000000BRjkIAG
|  |  |  | ENERGY STAR Integrated Screw Based SSL (LED) Lamp | Energy Solutions for Business-Building Operations | UAT | a2aD5000000fBGBIA2 | 012D5000000BRjkIAG
|  |  |  | Evaporator Coil Defrost Controls | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DrIAI | 012D5000000BRjkIAG
|  |  |  | Exit Signs | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DHIAY | 012D5000000BRjkIAG
|  |  |  | Exterior LED Flood and Spot Luminaires | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DGIAY | 012D5000000BRjkIAG
|  |  |  | Floating Head Pressure Controls | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DsIAI | 012D5000000BRjkIAG
|  |  |  | Fryers Fryer – Electric | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DhIAI | 012D5000000BRjkIAG
|  |  |  | GNI Adder | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0FiIAI | 012D5000000BRrKIAW
|  |  |  | Griddles Griddle – Electric | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DgIAI | 012D5000000BRjkIAG
|  |  |  | Guest Room Occupancy Sensor | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DxIAI | 012D5000000BRjkIAG
|  |  |  | Ice Machine - Ice-Making Head Unit | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DmIAI | 012D5000000BRjkIAG
|  |  |  | Ice Machine - Self-Contained Unit | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DnIAI | 012D5000000BRjkIAG
|  |  |  | Ice Maker - Batch Type & Continuous Type | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DqIAI | 012D5000000BRjkIAG
|  |  |  | Insulate Bare Suction Pipes – Cooler | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DwIAI | 012D5000000BRjkIAG
|  |  |  | LED 1x4, 2x2, and 2x4 Luminaires and Retrofit Kits | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0D9IAI | 012D5000000BRjkIAG
|  |  |  | LED Four-Foot Linear Replacement Lamps | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DIIAY | 012D5000000BRjkIAG
|  |  |  | LED High-Bay Luminaires and Retrofit Kits | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DAIAY | 012D5000000BRjkIAG
|  |  |  | LED High-Intensity Discharge Screw Base | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DVIAY | 012D5000000BRjkIAG
|  |  |  | LED Outdoor Pole/Arm- or Wall-Mounted Area and Roadway | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DDIAY | 012D5000000BRjkIAG
|  |  |  | LED Parking Canopy Luminaires and Retrofit Kits | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DCIAY | 012D5000000BRjkIAG
|  |  |  | LED Refrigeration Case Lighting | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DRIAY | 012D5000000BRjkIAG
|  |  |  | Networked Lighting Control | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DcIAI | 012D5000000BRjkIAG
|  |  |  | Occupancy Sensors | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DKIAY | 012D5000000BRjkIAG
|  |  |  | Reach-In Refrigerator/Freezer | Energy Solutions for Business-Building Operations | UAT | a2aVC000000aZIbYAM | 012D5000000BRjkIAG
|  |  |  | Reach-In Refrigerator/Freezer | Energy Solutions for Business-Building Operations | UAT | a2aVC000000aZIbYAM | 012D5000000BRjkIAG
|  |  |  | Refrigerated Case Night Covers | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DSIAY | 012D5000000BRjkIAG
|  |  |  | Refrigeration Door Gasket Replacement | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DzIAI | 012D5000000BRjkIAG
|  |  |  | Refrigeration Evaporator Fan Controls | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DtIAI | 012D5000000BRjkIAG
|  |  |  | Smart Thermostat | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DOIAY | 012D5000000BRjkIAG
|  |  |  | Speciality Doors with Low or No Anti-Sweat Heat for Reach-In | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DvIAI | 012D5000000BRjkIAG
|  |  |  | SSL (LED) Recessed Downlight - W Replaceable Components | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DJIAY | 012D5000000BRjkIAG
|  |  |  | SSL (LED) Recessed Downlight - with inseparable parts | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DFIAY | 012D5000000BRjkIAG
|  |  |  | Steam Cookers Steam Cooker – Electric | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DkIAI | 012D5000000BRjkIAG
|  |  |  | Strip Curtains | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DUIAY | 012D5000000BRjkIAG
|  |  |  | Switch Reluctance Motor | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0E1IAI | 012D5000000BRjkIAG
|  |  |  | Unitary HVAC Systems | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DYIAY | 012D5000000BRjkIAG
|  |  |  | Variable Frequency Drive (VFD) for HVAC | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DZIAY | 012D5000000BRjkIAG
|  |  |  | Variable Refrigerant Flow (VRF) Heat Pump System | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DuIAI | 012D5000000BRjkIAG
|  |  |  | Variable Speed Refrigeration Compressor | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DoIAI | 012D5000000BRjkIAG
|  |  |  | Vending Machine Control | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DTIAY | 012D5000000BRjkIAG
|  |  |  | VFD on Compressed Air | Energy Solutions for Business-Building Operations | UAT | a2aD5000000s0DlIAI | 012D5000000BRjkIAG
|  |  |  | DIY Advanced Power Strips | Energy Solutions for Business-Building Operations | UAT | a2aVC000001FBllYAG | 012D5000000BRjkIAG
|  |  |  | DIY Low Flow Faucet Aerators | Energy Solutions for Business-Building Operations | UAT | a2aVC000001FTqjYAG | 012D5000000BRjkIAG
|  |  |  | DIY Electric Water Heater Pipe Insulation | Energy Solutions for Business-Building Operations | UAT | a2aVC000001FXEPYA4 | 012D5000000BRjkIAG
|  |  |  | DIY Vending Machine Controls | Energy Solutions for Business-Building Operations | UAT | a2aVC000001FXHdYAO | 012D5000000BRjkIAG
|  |  |  | DIY Suction Pipe Insulation | Energy Solutions for Business-Building Operations | UAT | a2aVC000001FXJFYA4 | 012D5000000BRjkIAG
Create Export
Export MLI to CSV
Clear Data

## Version Log (hidden)
Current Version: | 2.2
Updated Date: | 4618800%
Version Number | Date | Update Details | Engineer
1 | 4574800% | Initial Release | Tyrone Bamfo & Conor McGrail
1.1 | 4575800% | Corrected financing equation, conditional formatting for exterior ECM, missing inputs status to display which input is missing, fixed baseline wattage middle row rows not populating, cost breakdown now shows lighting fixture manufacturer/model number, changed SVG for dual daylighting to align with prescriptive, added notes to lighting rows, fixed space type reference for warehouse, changed print area for project summary | Tyrone Bamfo & Conor McGrail
1.2 | 4577100% | Corrected DIY cap, Fixed lookup for smart thermostat incentive, Re-added pin lamps, Changed number of digits for kWh and kW on Summary tab, Fixed space type reference for Office | Tyrone Bamfo & Conor McGrail
1.3 | 4579300% | Removed efficient lamp type from data export, Added truncating to location for data export, Added equipment cost column to data export, Corrected ROI formula, Unlocked electric utility rate cell, Fixed tuneups not considering quantity, Added both unit equipment cost and unit installation cost to cost breakdown, Added capped and uncapped incentives to project summary as well as quantity | Tyrone Bamfo & Conor McGrail
1.4 | 4583100% | LTO incentives, added equipment cost to project summary, made "Other" function the same as "All" for lighting (was not working at all previously), Fixed Pin Lamp Error, Added new CNPs | Tyrone Bamfo
1.5 | 4589400% | Added Bathroom Exhaust Fans measure. Added DIY options for Beverage Vending Machine Controls and Suction Pipe Insulation. Added Miscellaneous DIY tab with Advanced Power Strips, Low Flow Aerators, and Electric Water Heater Pump Insulation. Changed SVG for Dual Daylight and Occupancy sensor to match Networked Lighting Controls SVG per Guidehouse Eval. Added "Other" facility type for some HVAC measures. Added Additional Notes to Cost Breakdown. Changed incentive rounding to solve DSMT rounding error. Added new CNPs. Added CNP name to Project Summary and Cost Breakdown. Added more Customer Information to Project Summary and Cost Breakdown. Changed format of Cost Breakdown to increase font size | Tyrone Bamfo
1.6 | 4592400% | Added Electrification Measures, Corrected WHFd cooling factor, Added list of DIY measures to Introduction tab, Increased HVAC incentive rate to $2.50 for select measures, Added new bonuses, Added Measure List to Inspection Punchlist, Smart thermostat incentive changed to 100% of measure cost | Tyrone Bamfo
1.7 | 4593600% | Aligned SBDI and BTU tiered bonus structure, Smart thermostat incentive changed to 100% of measure cost for BTU, Guard rails introduced for no cost measures, CNP bonus fields shifted to not show on cost breakdown | Tyrone Bamfo
1.8 | 4597200% | Updated incentives post LTO, Added financing box to project summary, Added soft caps for measure price measures, Fixed tune up and smart thermostat always requiring heating inputs | Tyrone Bamfo
2 | 4603500% | Demand/therms set to 0 and not blank if measure is active but no savings, Removed space in Tandem lighting causing import error, made it so 0 savings sensors don't show up on data export, split calc into SBDI and BTU, updated electrification HPWH measure to use new MD TRM, Added GHG savings for all measures, Moved methodology tab to new calc for space, factored quantity into therms savings for ARC and VRF, Variable Speed Refrigeration Compressor formula updated to latest PA TRM, Renamed calc CR Network Measure Calculator | Tyrone Bamfo
2.1 | 4608400% | New bonuses added, new electrification measures added, Data import macro extended, GHG made visible for individual line items, Updated kWh GHG conversion factor, Updated measure lives, Added LED flat panels to existing fixture dropdown, Added new TLED incentive for kW Efficiency | Tyrone Bamfo
2.2 | 4618800% | Updated DIY imports, corrected reach-in ID lookup, prevented 0 savings line items from contributing to incentive for lighting, Corrected uncapped and capped values on project summary for DIY, Added delamping as a lighting option, Fixed wattage populating for LED flat panels, Removed unused links, added OL and AA, Added Opportunity Number field to customer info tab, Added conversion factors to data export, Adjusted baseline condition for natural gas VRF replacements to be electric, Corrected eligible measure ID for LED four foot replacements, Added F42SHS option, Corrected lighting therms savings for electrically heated spaces, Increased the prescriptive electrification rates, Corrected GNI adder to max out at 100% of cost covered, Corrected TLED incentive calculation | Tyrone Bamfo